CONCEPT RESEARCH • PROOF OF CONCEPT

# Oxygen RBA Molecule / Carrier

Medical Concept White Paper and Proof-of-Concept Program

| Document | Revision | Date |
| --- | --- | --- |
| White Paper / POC | POC-01 | 1 Sep 2026 |

# Abstract

This paper defines the Oxygen RBA (Red-Blood-Cell-Analog) Molecule/Carrier: a conceptual oxygen-transport platform inspired by erythrocyte geometry and hemoglobin chemistry. POC-01 deliberately separates oxygen transport from oxygen manufacture. The carrier loads molecular oxygen at a controlled oxygenation interface and releases it according to local oxygen conditions.

The POC does not assume mature human red blood cells can be made to electrolyze water, and it excludes in-body hydrogen generation. Those branches introduce major energetic, oxidative, gas-management, and biological-safety problems.

# 1. Research Question

Can a synthetic or cell-inspired oxygen carrier improve controllable oxygen loading and unloading in a blood-analog environment while preserving mechanical compatibility, chemical stability, and predictable release behavior?

# 2. Scientific Baseline

Normal red blood cells take up O2 primarily by diffusion across the membrane followed by reversible binding to hemoglobin; this is not osmosis. Water splitting is an energy-consuming redox process: 2 H2O → 2 H2 + O2.

| Function | Normal RBC | Oxygen RBA POC |
| --- | --- | --- |
| O2 acquisition | Pulmonary exchange | Controlled external oxygenation |
| O2 storage | Hemoglobin binding | Reversible O2-binding medium |
| O2 release | Affinity / partial pressure | Designed affinity response |
| O2 manufacture | None | None in POC-01 |
| H2 production | None | Explicitly excluded |

# 3. Proposed Architecture

Carrier core: reversible oxygen-binding phase, not a free-gas cavity.

Exchange interface: permits O2 transfer while retaining carrier material.

Mechanical envelope: size and deformability appropriate to the intended test loop.

External oxygenation module: loads the carrier from a controlled O2 source.

Monitoring: dissolved O2, saturation, pressure, temperature, flow, integrity and damage surrogates.

# 4. Why Not a Microscopic Gas Balloon?

A red-cell-scale free-gas pocket would introduce compressibility, embolic risk, pressure sensitivity, and difficult gas-liquid interfaces. The safer conceptual analogue is reversible molecular oxygen binding. The RBA is therefore closer to a rechargeable oxygen sponge than a microscopic scuba cylinder.

# 5. Proof-of-Concept Program

## POC-M0 — Computational model

Model oxygen loading/unloading kinetics, diffusion distance, affinity, flow residence time, and predicted delivery capacity.

## POC-M1 — Non-biological benchtop loop

Use blood-analog fluid and a nonliving oxygen-carrier surrogate to demonstrate repeatable loading, transport, and unloading without animal or human exposure.

## POC-M2 — Mechanical compatibility

Measure pressure drop, aggregation, carrier retention, deformation, and passage through a microfluidic surrogate circulation.

## POC-M3 — Oxygen-transfer characterization

Quantify oxygen content before and after controlled oxygenation/deoxygenation zones and compare with carrier-free controls.

## POC-M4 — Biocompatibility gate

Only after non-biological performance is established should qualified biomedical laboratories consider standard blood-compatibility and degradation studies under appropriate oversight. POC-01 does not specify genetic-engineering or human-use procedures.

# 6. Primary Metrics

| Metric | Purpose |
| --- | --- |
| O2 carrying capacity | Usable oxygen transported per unit carrier |
| Loading/unloading time | Exchange speed |
| Affinity curve | Retention at high PO2 and release at lower PO2 |
| Mechanical stability | Repeated-circulation durability |
| Aggregation tendency | Occlusion-risk surrogate |
| Oxidative by-products | Detect potentially damaging chemistry |
| Energy per O2 delivered | System-level comparison with external generation |

# 7. Safety and Falsification

The concept fails its first gate if oxygen capacity is trivial, unloading is too slow, the carrier aggregates, produces damaging oxidative chemistry, or requires a free-gas phase. In-body electrolysis, hydrogen generation, and autonomous genetic modification are not POC success criteria. Clinical development would require extensive preclinical evidence, regulatory review, and specialist biomedical oversight.

# 8. Underwater-Life-Support Interface

The Oxygen RBA is not required for an electrical underwater breathing system. If the programs are later coupled, the external device should perform energy-intensive oxygen generation and gas management while the RBA remains a transport technology. Generation stays outside the bloodstream.

# 9. Conclusion

Oxygen RBA POC-01 reframes the idea around the strongest biological precedent: reversible molecular oxygen transport. The first experimental question is whether an engineered carrier can improve how oxygen is loaded, transported, and released—not whether a circulating cell can become an internal electrolyzer.